## Slide 1: GEH Communication

## Slide 2: GEH Communication Overview Y7
Notes: Pc104
Data concentrator
No dnp3 interface

## Slide 3: GEH Communication Overview Y8

## Slide 4: GEH Communication Overview Y8
DEVICE PROFILE(SST)

## Slide 5: GEH Communication Overview Y8

## Slide 6: MODBUS over ZigBee
Application layer protocol for Client- Server type of communication
Helps standardize communication frames for ARM - DSP communication

## Slide 7: DATA in JSON
{"py/object": "freedmqtt.DeviceProfile.DeviceProfile", "DIN": [{"py/object": "freedmqtt.DeviceProfile.din", "index": 0, "name": "Module1_start_stop", "maximum": 1.0, "value": 0.0, "minimum": 0.0}, {"py/object": "freedmqtt.DeviceProfile.din", "index": 1, "name": "Module2_start_stop", "maximum": 1.0, "value": 0.0, "minimum": 0.0}, {"py/object": "freedmqtt.DeviceProfile.din", "index": 2, "name": "Module3_start_stop", "maximum": 1.0, "value": 0.0, "minimum": 0.0}, {"py/object": "freedmqtt.DeviceProfile.din", "index": 3, "name": "Module4_start_stop", "maximum": 1.0, "value": 0.0, "minimum": 0.0}], "AOUT": [{"py/object": "freedmqtt.DeviceProfile.aout", "index": 0, "name": "Vlv1", "maximum": 16000.0, "value": 13214.0, "minimum": -16000.0}, {"py/object": "freedmqtt.DeviceProfile.aout", "index": 1, "name": "Vhv1", "maximum": 450.0, "value": 0.0, "minimum": -450.0}, {"py/object": "freedmqtt.DeviceProfile.aout", "index": 2, "name": "Ihv1", "maximum": 5000.0, "value": 5.0, "minimum": -5000.0}, {"py/object": "freedmqtt.DeviceProfile.aout", "index": 3, "name": "SOC1", "maximum": 100.0, "value": 51.0, "minimum": 0.0}, {"py/object": "freedmqtt.DeviceProfile.aout", "index": 4, "name": "Vlv2", "maximum": 16000.0, "value": 13181.0, "minimum": -16000.0}, {"py/object": "freedmqtt.DeviceProfile.aout", "index": 5, "name": "Vhv2", "maximum": 450.0, "value": 0.0, "minimum": -450.0}, {"py/object": "freedmqtt.DeviceProfile.aout", "index": 6, "name": "Ihv2", "maximum": 5000.0, "value": -10.0, "minimum": -5000.0}, {"py/object": "freedmqtt.DeviceProfile.aout", "index": 7, "name": "SOC2", "maximum": 100.0, "value": 51.0, "minimum": 0.0}, {"py/object": "freedmqtt.DeviceProfile.aout", "index": 8, "name": "Vlv3", "maximum": 16000.0, "value": 13200.0, "minimum": -16000.0}, {"py/object": "freedmqtt.DeviceProfile.aout", "index": 9, "name": "Vhv3", "maximum": 450.0, "value": 0.0, "minimum": -450.0}, {"py/object": "freedmqtt.DeviceProfile.aout", "index": 10, "name": "Ihv3", "maximum": 5000.0, "value": -7.0, "minimum": -5000.0}, {"py/object": "freedmqtt.DeviceProfile.aout", "index": 11, "name": "SOC3", "maximum": 100.0, "value": 51.0, "minimum": 0.0}, {"py/object": "freedmqtt.DeviceProfile.aout", "index": 12, "name": "Vlv4", "maximum": 16000.0, "value": 0.0, "minimum": -16000.0}, {"py/object": "freedmqtt.DeviceProfile.aout", "index": 13, "name": "Vhv4", "maximum": 450.0, "value": 0.0, "minimum": -450.0}, {"py/object": "freedmqtt.DeviceProfile.aout", "index": 14, "name": "Ihv4", "maximum": 5000.0, "value": 0.0, "minimum": -5000.0}, {"py/object": "freedmqtt.DeviceProfile.aout", "index": 15, "name": "SOC4", "maximum": 100.0, "value": 50.0, "minimum": 0.0}], "DOUT": [], "Name_Hash": {"Dev_Pwr_Cap": "DEV_CHAR/4", "Vhv2OUT": "AOUT/5", "Module3_start_stopIN": "DIN/2", "Ihv3OUT": "AOUT/10", "Module1_PIN": "AIN/0", "Ihv1OUT": "AOUT/2", "Module4_start_stopIN": "DIN/3", "Module1_start_stopIN": "DIN/0", "Vendor_name": "DEV_CHAR/0", "Dev_HW_Ver": "DEV_CHAR/2", "SOC1OUT": "AOUT/3", "Vhv3OUT": "AOUT/9", "SOC2OUT": "AOUT/7", "SOC4OUT": "AOUT/15", "Dev_Energy_Cap": "DEV_CHAR/5", "Ihv4OUT": "AOUT/14", "Dev_SW_Ver": "DEV_CHAR/3", "Module4_PIN": "AIN/3", "Num_Modules": "DEV_CHAR/6", "Vlv3OUT": "AOUT/8", "Vhv1OUT": "AOUT/1", "Vhv4OUT": "AOUT/13", "Dev_Name": "DEV_CHAR/1", "Vlv2OUT": "AOUT/4", "Ihv2OUT": "AOUT/6", "Module3_PIN": "AIN/2", "Vlv4OUT": "AOUT/12", "SOC3OUT": "AOUT/11", "Vlv1OUT": "AOUT/0", "Module2_start_stopIN": "DIN/1", "Module2_PIN": "AIN/1"}, "Topic_Hash": {"AIN/0": "Module1_P", "AIN/1": "Module2_P", "AIN/2": "Module3_P", "AIN/3": "Module4_P", "DEV_CHAR/3": "Dev_SW_Ver", "DEV_CHAR/2": "Dev_HW_Ver", "DEV_CHAR/1": "Dev_Name", "DEV_CHAR/0": "Vendor_name", "DEV_CHAR/6": "Num_Modules", "DEV_CHAR/5": "Dev_Energy_Cap", "DEV_CHAR/4": "Dev_Pwr_Cap", "AOUT/8": "Vlv3", "AOUT/9": "Vhv3", "AOUT/0": "Vlv1", "AOUT/1": "Vhv1", "AOUT/2": "Ihv1", "AOUT/3": "SOC1", "AOUT/4": "Vlv2", "AOUT/5": "Vhv2", "AOUT/6": "Ihv2", "AOUT/7": "SOC2", "AOUT/12": "Vlv4", "AOUT/13": "Vhv4", "AOUT/10": "Ihv3", "AOUT/11": "SOC3", "AOUT/14": "Ihv4", "AOUT/15": "SOC4", "DIN/1": "Module2_start_stop", "DIN/0": "Module1_start_stop", "DIN/3": "Module4_start_stop", "DIN/2": "Module3_start_stop"}, "file_1": "json/DCDESD_1.json", "flag": 12, "AIN": [{"py/object": "freedmqtt.DeviceProfile.ain", "index": 0, "name": "Module1_P", "maximum": 600.0, "value": 0.0, "minimum": -600.0}, {"py/object": "freedmqtt.DeviceProfile.ain", "index": 1, "name": "Module2_P", "maximum": 600.0, "value": 0.0, "minimum": -600.0}, {"py/object": "freedmqtt.DeviceProfile.ain", "index": 2, "name": "Module3_P", "maximum": 600.0, "value": 0.0, "minimum": -600.0}, {"py/object": "freedmqtt.DeviceProfile.ain", "index": 3, "name": "Module4_P", "maximum": 600.0, "value": 0.0, "minimum": -600.0}], "DEV_CHAR": [{"py/object": "freedmqtt.DeviceProfile.dev_char", "index": 0, "name": "Vendor_name", "value": "FREEDM"}, {"py/object": "freedmqtt.DeviceProfile.dev_char", "index": 1, "name": "Dev_Name", "value": "DCDESD"}, {"py/object": "freedmqtt.DeviceProfile.dev_char", "index": 2, "name": "Dev_HW_Ver", "value": 1.0}, {"py/object": "freedmqtt.DeviceProfile.dev_char", "index": 3, "name": "Dev_SW_Ver", "value": "1.00"}, {"py/object": "freedmqtt.DeviceProfile.dev_char", "index": 4, "name": "Dev_Pwr_Cap", "value": 1500.0}, {"py/object": "freedmqtt.DeviceProfile.dev_char", "index": 5, "name": "Dev_Energy_Cap", "value": 3000.0}, {"py/object": "freedmqtt.DeviceProfile.dev_char", "index": 6, "name": "Num_Modules", "value": "4"}], "write_time": {"py/object": "datetime.datetime", "__reduce__": [{"py/type": "datetime.datetime"}, ["B98FHBYUMAWGJw=="]]}, "initialized": 1, "start_time": {"py/object": "datetime.datetime", "__reduce__": [{"py/type": "datetime.datetime"}, ["B98FHBUyNAuS0g=="]]}, "change": ["Error", "AOUT/0", "AOUT/1", "AOUT/2", "AOUT/3", "AOUT/4", "AOUT/5", "AOUT/6", "AOUT/7", "AOUT/8", "AOUT/9", "AOUT/10", "AOUT/11"], "native": 1}Implementation

## Slide 8: MQTT : Message Queue Telemetry Transport
Communication Framework

## Slide 9: Implementation
Device Profile, which is nothing but a standardized Excel sheet, shall list all the data points.
It would be parsed to create an object for each device at initialization.
JSON file is a simple, standard file format to represent object attributes.
Applications can read from/ write into JSON files (APIs shall be provided with Rd/Wr protection)
MQTT shall maintain concurrency across JSON files representing a unique object.
MODBUS communication with the DSPs is conducted over the Xbee network.
DGI or MATLAB APP
DATA
File Transfer
MQTT
APP
DATA
MQTT
MODBUS
TCP/IP
PI SERVER
Beagle Bone
DSP
JSON
COMMAND/STATUS
SST or HEM
DESD

## Slide 10: PI SERVER

## Slide 11: SCADA APPLICATION and RT DATA
Why do we need it?
Which data will be stored here?
How will it be managed ?
How TMW DNP3 interface will use it?

## Slide 12
DATA IN JSON FORMAT
DATAs from SST and FREEDM device’s and HEMS APP will be saved here.
It will also bring and save DATAs from other SST nodes after certain interval
All those datas will be send to the PI system using dnp3 interface
DEVICE PROFILE(SST)

## Slide 13
Thank You